SUPPLMENTARY REPORT

DATE: 28 September 2020

TO: Northern Beaches Development Determination Panel

CC: Rodney Piggott, Manager Development Assessments

FROM: Catriona Shirley, Planner

SUBJECT: DA2020/0370 13 Loch Street Freshwater– Supplementary Report

Dear Development Determination Panel,

As a result of the Development Determination Panels decision to defer the decision for Development Application DA20200370, 13 Loch Street Freshwater, amended plans have been received in order to satisfy the DDP issues and concerns.

AMENDED PLANS

The amended plans can be located at TRIM2020/579003.

A summary of the changes demonstrated in the amended plans are as follows:

- Level 1

  - The eastern wall of Bed 4 has been moved west by 1m

  - The terrace 1 southern side has been moved north by 831mm

  - The internal layout has been modified, the second hallway and external door has been removed and the stairs amended.

- Level 2

  - The external walls have stepped in on the south east corner by 3m to the west and 2m to the north and Terrace 2 has moved back 1m

  - The southern wall of the Living room is 3.6m from the side boundary

  - As a result of this the internal layout has changed, the stairs moved, the entry hall reduced in size and moved the entry closer to the street frontage.

- Level 3

  - The eastern façade is moved west by 1m, the southern wall of Bedroom 1 is moved north by 700mm and the northern wall of ensuite is moved north by 597mm

  - Narrowed the width (north - south) of Bedroom 1 from 4.4 to 3.9m.

  - Moved en-suite 1 to the north and lost the void over the living room.

  - Redesigned the walk in robe with a dressing area and added linen cupboards off the hall.

  - Moved Bedroom 2 towards the west, reducing its size, added Bed 3 over the garage and repositioned the bathroom.

View loss

- By increasing the set back on the south east corner of the home the views across the property from the southern adjoining site have been increased.

Bulk and Scale

- The top of the level 2 parapet at RL48,700  is similar to the gutter level (RL 48. 25)of No 11 Loch Street.

- The SE corner of level 1 and level 2 has been stepped back providing greater separation.

- The level 3 Bed 1 floor has been narrowed & has been pushed to the west and to the north.

- The southern wall is set back 4.2m from the boundary.

Overshadowing

Amended shadow diagrams for 21st June between 9am and 2pm and diagrams for the 1st May, between 9am to 12 pm have been submitted.

There has been a reduction in overshadowing over the southern neighbouring site.

SUBMISSIONS

The amended plans where emailed to the property owners of No. 11 Loch Street. The summary of issues in regard to the amended plans are as follows:

- Overshadowing

- Privacy

- Fencing

Overshadowing

The DDP had concerns in regard to the extent of overshadowing specifically to the elevated terrace area and dining room window of No.11 Loch Street.

The submission received by No. 11 Loch Street as a result of the amended plans continues to express concerns with the overshadowing to this area as a result of the amended design.

The amended plans demonstrate there is a reduction in overshadowing to the terrace area, and dining room window of the southern adjoining site.

Additional solar access is demonstrated to the terrace area and dining room window up until 1.00pm on June 31st shadow diagrams.

The 1st May diagrams show that the terrace is not overshadowed by proposal.

In this regard, it is considered that the development has been designed in an attempt to provide

a reasonable level of access to sunlight given the constraints the southern adjoining site.

Privacy

The submission raises concern with the window openings on the southern elevation.

The amended design shown that the windows on Level 2 and Level 3 will contain opaque glazing to minimise reasonable overlooking into the southern adjoining private open space areas. No further mitigation measures would be required.

The submission also raises concern with the Level 3 balcony area servicing the master bedroom.

The amended design has a smaller balcony area (1.7m x 3.8m) servicing the master bedroom. The general orientation of properties along the escarpment are towards the north-east and east to capture the expansive views to the Headlands and Collaroy Beach. The location of this balcony sits forward of the No. 11 Loch Street built form and private open space area i.e. terrace area, and also provides a southern side setback of 4.2m.

As noted in the planning principle detailed in the assessment report, overlooking from a living area is more objectionable than overlooking from a bedroom where people tend to spend less waking time. As a result, due to the side setback of 4.2m, its siting forward of neighbouring private open space area it is not considered further privacy treatments are required.

Privacy Amendments to Condition 8

As a result of the window design changes Condition 8 will be amended to reflect the amended plans.

Condition 8 amendments are as follows:

8 A) Is to remain due to the reference of side boundary fencing on the amended plans.

8 B) to be amended.

As a result of the amended plans W16 is replaced by W17 on the southern elevation and continues to service the Level 2 pantry.

The amended plans indicate this window is to be of opaque glazing, as per the listed abbreviations on Plan DA01. However, in the absence of a window schedule a new condition will be applied to ensure all windows marked as “OG” will be obscure glazing.

Figure 1: Window 16 on the original plan          Figure 2: Window W17 on the amended plans

W17

Figure 3: Window W17 on the amended plan is shown to be opaque glazing.

As a result of the amended plans window W28 is replaced by W29 and continues to adjoin the Level 3 stairwell on the eastern elevation.

After discussion with the applicant, it was agreed that a vertical timber privacy screen is to be constructed in front of the window to satisfy the privacy requirements of the control. As a result, condition 8 will be amended to reflect this change.

8 C) to be amended

Window W23 and W24 on the southern elevation of Level 3 are replaced by W26, W27 and W28 and continue to service Bedroom 1 and also the WIR. Windows W26, W27 and W28 are to be opaque glazing. However, in the absence of a window schedule a new condition will be applied to ensure all windows marked as “OG” will be obscure glazing.

Figure 4:Windows W23 & W24 on original plans     Figure 5:News windows W26, W27 & w28

W26, W27,& W28

Figure 6: Amended windows W26, W27 & W28 are shown to be opaque glazing

Therefore, the window conditions in Condition 8 has been amended to satisfy the requirements of the D8 Privacy control and reflect the amended design as follows.

### 8. Amendments to the approved plans

The following amendments are to be made to the approved plans:

- The proposed side boundary fencing, as indicated on the approved plans do not form part of this development consent. Reference to side boundary fencing is to be removed from the approved plans prior to the issue of the construction certificate.

- All windows and doors on the north, east, south and west elevation plans marked “OG” are required to be of opaque glazing.

- A vertical privacy screen is to be installed over window W29 on Level 3 of the eastern elevation (adjoining the stairwell) as shown on the approved plans.

Details demonstrating compliance are to be submitted to the Certifying Authority prior to the issue of the construction certificate.

Reason: To ensure development minimises unreasonable impacts upon surrounding land.

Fencing

No owners consent from No. 15 or No. 11 Loch Street was received as part of the application for the boundary fencing.

The height of boundary fencing on the amended plans can be undertaken via the provisions of State Environmental Planning Policy Exempt and Complying Development. As a result, the side boundary fencing will be removed from the proposed plans via condition 8 in the assessment report.

ABORIGINAL HERRIATGE OFFICE

Due to the existence of rock overhangs within the subject site, the application was referred to the Aboriginal Heritage Office for assessment.

The response was as follows:

“Reference is made to the proposed development at the above area and Aboriginal heritage.

No sites are recorded in the current development area and the area of works has been subject to previous disturbance reducing the likelihood of surviving unrecorded Aboriginal sites.

Whilst the area of works does not contain Aboriginal sites or Aboriginal heritage sensitivity, there is a sandstone overhang on the property. According to the Due Diligence Code of Practice, any land within 20m of or in a rock shelter is considered to have Aboriginal heritage sensitivity and the potential to contain Aboriginal sites. Given the presence of these landscape features in the proposal area there is potential that the works may harm unrecorded Aboriginal sites which are protected under the NPW Act 1974. Harm to these landscape features should therefore be avoided during the construction phase of the works.

Inadvertent impacts is considered harm under the NPW Act (1974). Storing materials, parking vehicles on an Aboriginal site or area likely to contain Aboriginal sites is considered harm. During construction all workers and contractors should be made aware of their obligations to avoid harm to Aboriginal sites and areas of Aboriginal sensitivity.

If inadvertent impacts do occur works, works should cease and Council, the NSW Biodiversity and Conservation Division, Heritage NSW and the Metropolitan Local Aboriginal Land Council (MLALC) should be contacted.”

As a result, a condition will be applied to ensure the landscape features, specifically the sandstone overhang, is protected at all times (Condition 24).

CONDITIONS

Due to the submission of amended plans, and the response from the Aboriginal Heritage Office, the previous conditions have been updated to reflect these amendments/recommendations.

The changes to the conditions are as follows:

- Replace Condition 1 to reflect the amended Plans

- Three additional conditions (Landscaping) as contained in Supplementary memo dated 25 August 2020, are included as follows:

- Condition 22 Tree and Vegetation Protection

- Condition 23 Protection of landscape features and sites of significance

- Condition 33 Landscape Maintenance

- Additional Aboriginal Heritage Condition as per the recommendation of the Aboriginal Heritage Office is included as follows:

- Condition 24 Aboriginal Heritage

- Amend Condition 8 to reflect amended plans

As a result, updated conditions are attached to this supplementary report, Appendix 1 below.

CONCLUSION

The proposed amendments made under this application are sufficient to satisfactorily address the issues identified by the Development Determination Panel.

The amendments to the proposal and new documentation have resolved the built form, character

and site suitability issues forming the basis of the concerns of the Development Application.

The critical concerns relating to the built form, setbacks, wall height, views and overshadowing

have been addressed by change in design. The amended proposal creates acceptable and reasonable amenity impacts to the adjoining properties and achieves consistency with the desired future character of the Freshwater area.

RECOMENDATION

Accordingly, the application is referred back to the Development Determination Panel with a re-affirmed

recommendation for approval subject to the consolidated conditions in Appendix 1 below.

APPENDIX 1

## DEVELOPMENT CONSENT OPERATIONAL CONDITIONS

### Approved Plans and Supporting Documentation

The development must be carried out in compliance (except as amended by any other condition of consent) with the following:

  - Approved Plans

| Architectural Plans - Endorsed with Council's stamp |  |  |
| --- | --- | --- |
| Drawing No. | Dated | Prepared By |
| Development Application DA01 | 24/9/2019 | Corben Architects |
| Site Analysis DA02 Rev F | 24/9/2020 | Corben Architects |
| Level 1 Plan DA03 Rev K | 23/9/2020 | Corben Architects |
| Level 2 Plan DA04 Rev K | 23/9/2020 | Corben Architects |
| Level 3 Plan DA05 Rev K | 23/9/2020 | Corben Architects |
| Site and Roof Plan DA06 Rev K | 23/9/2020 | Corben Architects |
| Excavation and Demolition Plan DA07 Rev F | 23/9/2020 | Corben Architects |
| North Elevation DA09 Rev K | 23/9/2020 | Corben Architects |
| South Elevation DA10 Rev K | 23/9/2020 | Corben Architects |
| West and East Elevation DA11 Rev K | 23/9/2020 | Corben Architects |
| Section A DA12 Rev K | 23/9/2020 | Corben Architects |
| Section B DA13 Rev K | 23/9/2020 | Corben Architects |

| Reports / Documentation – All recommendations and requirements contained within: |  |  |
| --- | --- | --- |
| Report No. / Page No. / Section No. | Dated | Prepared By |
| Geotechnical Assessment | February 2020 | STS Geotechnics Pty Ltd |

  - Any plans and / or documentation submitted to satisfy the Conditions of this consent.

  - The development is to be undertaken generally in accordance with the following:

| Landscape Plans |  |  |
| --- | --- | --- |
| Drawing No. | Dated | Prepared By |
| L100C Landscape Plan | 25/02/2020 | Spirt Level |

| Waste Management Plan |  |  |
| --- | --- | --- |
| Drawing No/Title. | Dated | Prepared By |
| Waste Management Plan DA08 | 23/09/202 | Corban Architects |

In the event of any inconsistency between conditions of this consent and the drawings/documents referred to above, the conditions of this consent will prevail.

Reason: To ensure the work is carried out in accordance with the determination of Council and approved plans.

### Compliance with Other Department, Authority or Service Requirements

The development must be carried out in compliance with all recommendations and requirements, excluding general advice, within the following:

| Other Department, Authority or Service | EDMS Reference | Dated |
| --- | --- | --- |
| Ausgrid | Response Ausgrid Referral | 7 May 2020 |

(NOTE: For a copy of the above referenced document/s, please see Application Tracking on Council’s website www.northernbeaches.nsw.gov.au)

Reason: To ensure the work is carried out in accordance with the determination and the statutory requirements of other departments, authorities or bodies.

### Prescribed Conditions

- All building works must be carried out in accordance with the requirements of the Building Code of Australia (BCA).

- BASIX affected development must comply with the schedule of BASIX commitments specified within the submitted BASIX Certificate (demonstrated compliance upon plans/specifications is required prior to the issue of the Construction Certificate);

- A sign must be erected in a prominent position on any site on which building work, subdivision work or demolition work is being carried out:

  - showing the name, address and telephone number of the Principal Certifying Authority for the work, and

  - showing the name of the principal contractor (if any) for any building work and a telephone number on which that person may be contacted outside working hours, and

  - stating that unauthorised entry to the work site is prohibited.

Any such sign is to be maintained while the building work, subdivision work or demolition work is being carried out, but must be removed when the work has been completed.

- Residential building work within the meaning of the Home Building Act 1989 must not be carried out unless the Principal Certifying Authority for the development to which the work relates (not being the Council) has given the Council written notice of the following information:

  - in the case of work for which a principal contractor is required to be appointed:

    - the name and licence number of the principal contractor, and

    - the name of the insurer by which the work is insured under Part 6 of that Act,

  - in the case of work to be done by an owner-builder:

    - the name of the owner-builder, and

    - if the owner-builder is required to hold an owner-builder permit under that Act, the number of the owner-builder permit.

If arrangements for doing the residential building work are changed while the work is in progress so that the information notified under becomes out of date, further work must not be carried out unless the Principal Certifying Authority for the development to which the work relates (not being the Council) has given the Council written notice of the updated information.

- Development that involves an excavation that extends below the level of the base of the footings of a building on adjoining land, the person having the benefit of the development consent must, at the person's own expense:

  - protect and support the adjoining premises from possible damage from the excavation, and

  - where necessary, underpin the adjoining premises to prevent any such damage.

  - must, at least 7 days before excavating below the level of the base of the footings of a building on an adjoining allotment of land, give notice of intention to do so to the owner of the adjoining allotment of land and furnish particulars of the excavation to the owner of the building being erected or demolished.

  - the owner of the adjoining allotment of land is not liable for any part of the cost of work carried out for the purposes of this clause, whether carried out on the allotment of land being excavated or on the adjoining allotment of land.

In this clause, allotment of land includes a public road and any other public place. Reason: Legislative requirement.

### General Requirements

- Unless authorised by Council:

Building construction and delivery of material hours are restricted to:

l	7.00 am to 5.00 pm inclusive Monday to Friday,

l	8.00 am to 1.00 pm inclusive on Saturday,

l	No work on Sundays and Public Holidays.

Demolition and excavation works are restricted to:

l	8.00 am to 5.00 pm Monday to Friday only.

(Excavation work includes the use of any excavation machinery and the use of jackhammers, rock breakers, excavators, loaders and the like, regardless of whether the activities disturb or alter the natural state of the existing ground stratum or are breaking up/removing materials from the site).

- Should any asbestos be uncovered on site, its demolition and removal must be carried out in accordance with WorkCover requirements and the relevant Australian Standards.

- At all times after the submission the Notice of Commencement to Council, a copy of the Development Consent and Construction Certificate is to remain onsite at all times until the issue of a final Occupation Certificate. The consent shall be available for perusal of any Authorised Officer.

- Where demolition works have been completed and new construction works have not commenced within 4 weeks of the completion of the demolition works that area affected by the demolition works shall be fully stabilised and the site must be maintained in a safe and clean state until such time as new construction works commence.

- Onsite toilet facilities (being either connected to the sewer or an accredited sewer management facility) for workers are to be provided for construction sites at a rate of 1 per 20 persons.

- Prior to the release of the Construction Certificate, payment of the Long Service Levy is required. This payment can be made at Council or to the Long Services Payments Corporation. Payment is not required where the value of the works is less than

$25,000. The Long Service Levy is calculated on 0.35% of the building and construction work. The levy rate and level in which it applies is subject to legislative change. The applicable fee at the time of payment of the Long Service Levy will apply.

- The applicant shall bear the cost of all works associated with the development that occurs on Council’s property.

- No skip bins, building materials, demolition or excavation waste of any nature, and no hoist, plant or machinery (crane, concrete pump or lift) shall be placed on Council’s footpaths, roadways, parks or grass verges without Council Approval.

- Demolition materials and builders' wastes are to be removed to approved waste/recycling centres.

- No trees or native shrubs or understorey vegetation on public property (footpaths, roads, reserves, etc.) or on the land to be developed shall be removed or damaged during construction unless specifically approved in this consent including for the erection of any fences, hoardings or other temporary works.

- Prior to the commencement of any development onsite for:

  - Building/s that are to be erected

  - Building/s that are situated in the immediate vicinity of a public place and is dangerous to persons or property on or in the public place

  - Building/s that are to be demolished

  - For any work/s that is to be carried out

  - For any work/s that is to be demolished

The person responsible for the development site is to erect or install on or around the development area such temporary structures or appliances (wholly within the development site) as are necessary to protect persons or property and to prevent unauthorised access to the site in order for the land or premises to be maintained in a safe or healthy condition. Upon completion of the development, such temporary structures or appliances are to be removed within 7 days.

- A “Road Opening Permit” must be obtained from Council, and all appropriate charges paid, prior to commencement of any work on Council property. The owner/applicant shall be responsible for all public utilities and services in the area of the work, shall notify all relevant Authorities, and bear all costs associated with any repairs and/or adjustments as those Authorities may deem necessary.

- The works must comply with the relevant Ausgrid Network Standards and SafeWork NSW Codes of Practice.

- Requirements for new swimming pools/spas or existing swimming pools/spas affected by building works.

- Child resistant fencing is to be provided to any swimming pool or lockable cover to any spa containing water and is to be consistent with the following;

Relevant legislative requirements and relevant Australian Standards (including but not limited) to:

  - Swimming Pools Act 1992

  - Swimming Pools Amendment Act 2009

  - Swimming Pools Regulation 2008

  - Australian Standard AS1926 Swimming Pool Safety

  - Australian Standard AS1926.1 Part 1: Safety barriers for swimming pools

  - Australian Standard AS1926.2 Part 2: Location of safety barriers for swimming pools.

- A 'KEEP WATCH' pool safety and aquatic based emergency sign, issued by Royal Life Saving is to be displayed in a prominent position within the pool/spa area.

- Filter backwash waters shall be conveyed to the Sydney Water sewerage system in sewered areas or managed on-site in unsewered areas in a manner that does not cause pollution, erosion or run off, is separate from the irrigation area for any wastewater system and is separate from any onsite stormwater management system.

- Swimming pools and spas must be registered with the Division of Local Government.

Reason: To ensure that works do not interfere with reasonable amenity expectations of residents and the community.

## FEES / CHARGES / CONTRIBUTIONS

### Policy Controls

Northern Beaches 7.12 Contributions Plan 2019

A monetary contribution of $25,148.75 is payable to Northern Beaches Council for the provision of local infrastructure and services pursuant to section 7.12 of the Environmental Planning & Assessment Act 1979 and the Northern Beaches Section 7.12 Contributions Plan 2019. The monetary contribution is based on a development cost of $2,514,875.00.

The monetary contribution is to be paid prior to the issue of the first Construction Certificate or Subdivision Certificate whichever occurs first, or prior to the issue of the Subdivision Certificate where no Construction Certificate is required. If the monetary contribution (total or in part) remains unpaid after the financial quarter that the development consent is issued, the amount unpaid (whether it be the full cash contribution or part thereof) will be adjusted on a quarterly basis in accordance with the applicable Consumer Price Index. If this situation applies, the cash contribution payable for this development will be the total unpaid monetary contribution as adjusted.

The proponent shall provide to the Certifying Authority written evidence (receipt/s) from Council that the total monetary contribution has been paid.

The Northern Beaches Section 7.12 Contributions Plan 2019 may be inspected at 725 Pittwater Rd, Dee Why and at Council’s Customer Service Centres or alternatively, on Council’s website at www.northernbeaches.nsw.gov.au

This fee must be paid prior to the issue of the Construction Certificate. Details demonstrating compliance are to be submitted to the Principal Certifying Authority.

Reason: To provide for contributions in accordance with the Contribution Plan to fund the provision of new or augmented local infrastructure and services.

### Security Bond

A bond (determined from cost of works) of $10,000 and an inspection fee in accordance with Council's Fees and Charges paid as security are required to ensure the rectification of any damage that may occur to the Council infrastructure contained within the road reserve adjoining the site as a result of construction or the transportation of materials and equipment to and from the development site.

An inspection fee in accordance with Council adopted fees and charges (at the time of payment) is payable for each kerb inspection as determined by Council (minimum (1) one inspection).

All bonds and fees shall be deposited with Council prior to Construction Certificate or demolition work commencing, and details demonstrating payment are to be submitted to the Certifying Authority prior to the issue of the Construction Certificate.

To process the inspection fee and bond payment a Bond Lodgement Form must be completed with the payments (a copy of the form is attached to this consent and alternatively a copy is located on Council's website at www.northernbeaches.nsw.gov.au).

Reason: To ensure adequate protection of Council's infrastructure.

CONDITIONS TO BE SATISFIED PRIOR TO THE ISSUE OF THE CONSTRUCTION CERTIFICATE

### Stormwater Disposal from Low Level Property

The applicant is to demonstrate how stormwater from the new development within this consent shall be disposed of to an existing approved system or in accordance with Northern Beaches Council’s "Warringah Water Management Policy PL 850" in particular the Stormwater Drainage from Low Level Properties Technical Specification. Details demonstrating that the existing approved system can accommodate the additional flows or compliance with the Northern Beaches Council’s "Warringah Water Management Policy PL 850" are to be submitted to the Certifying Authority for approval prior to the issue of the Construction Certificate.

It is to be noted that a pump out driange system will not be permitted. A revised stormwater management plan in compliance with the above policy is to be approved by an accredited certifier in Civil Engineering.

Reason: To ensure appropriate provision for disposal and stormwater management arising from the development.

### Amendments to the approved plans

The following amendments are to be made to the approved plans:

- The proposed side boundary fencing, as indicated on the approved plans do not form part of this development consent. Reference to side boundary fencing is to be removed from the approved plans prior to the issue of the construction certificate.

- All windows and doors on the north, east, south and west elevation plans marked “OG” are required to be of opaque glazing.

- A vertical privacy screen is to be installed over window W29 on Level 3 of the eastern elevation (adjoining the stairwell) as shown on the approved plans.

Details demonstrating compliance are to be submitted to the Certifying Authority prior to the issue of the construction certificate.

Reason: To ensure development minimises unreasonable impacts upon surrounding land.

### Structural Adequacy and Excavation Work

Excavation work is to ensure the stability of the soil material of adjoining properties, the protection of adjoining buildings, services, structures and / or public infrastructure from damage using underpinning, shoring, retaining walls and support where required. All retaining walls are

to be structurally adequate for the intended purpose, designed and certified by a Structural Engineer, except where site conditions permit the following:

- maximum height of 900mm above or below ground level and at least 900mm from any property boundary, and

- Comply with AS3700, AS3600 and AS1170 and timber walls with AS1720 and AS1170.

Details demonstrating compliance are to be submitted to the Principal Certifying Authority prior to the issue of the Construction Certificate.

Reason: To provide public and private safety.

### Shoring of Council's Road Reserve (Temporary road anchors)

Should the proposal require shoring to support an adjoining property or Council land, the Applicant shall provide the adjoining properties with engineering drawings, detailing the proposed shoring works for their consideration and approval.

Written approval from Council under Section 138 of the Roads Act 1993 is required if temporary ground anchors are to be used within Council’s road reserve. The Owner’s approval is to be submitted to the Certifying Authority prior to the issue of the Construction Certificate.

Reason: To ensure that owners consent is obtained for ancillary works, and to ensure the protection of adjoining properties and Council land.

### Vehicle Crossings Application

The Applicant is to submit an application for driveway levels with Council in accordance with Section 138 of the Roads Act 1993. The fee associated with the assessment and approval of the application is to be in accordance with Council’s Fee and Charges.

An approval is to be submitted to the Certifying Authority prior to the issue of the Construction Certificate.

Reason: To facilitate suitable vehicular access to private property.

### Compliance with Standards

The development is required to be carried out in accordance with all relevant Australian Standards.

Details demonstrating compliance with the relevant Australian Standard are to be submitted to the Certifying Authority prior to the issue of the Construction Certificate.

Reason: To ensure the development is constructed in accordance with appropriate standards.

### External Finishes to Roof

The external finish to the roof shall have a medium to dark range in order to minimise solar reflections to neighbouring properties. Any roof with a metallic steel finish is not permitted.

Details demonstrating compliance are to be submitted to the Certifying Authority prior to the issue of the Construction Certificate.

Reason: To ensure that excessive glare or reflectivity nuisance does not occur as a result of the development.

### Sydney Water "Tap In"

The approved plans must be submitted to the Sydney Water Tap in service, prior to works commencing, to determine whether the development will affect any Sydney Water assets and/or easements. The appropriately stamped plans must then be submitted to the Certifying Authority demonstrating the works are in compliance with Sydney Water requirements.

Please refer to the website www.sydneywater.com.au for:

¡	“Tap in” details - see http://www.sydneywater.com.au/tapin

¡	Guidelines for Building Over/Adjacent to Sydney Water Assets.

Or telephone 13 000 TAP IN (1300 082 746).

Reason: To ensure compliance with the statutory requirements of Sydney Water.

### Waste Management Plan

A Waste Management Plan must be prepared for this development. The Plan must be in accordance with the Development Control Plan.

Details demonstrating compliance must be provided to the Certifying Authority prior to the issue of the Construction Certificate.

Reason: To ensure that any demolition and construction waste, including excavated material, is reused, recycled or disposed of in an environmentally friendly manner.

## CONDITIONS THAT MUST BE ADDRESSED PRIOR TO ANY COMMENCEMENT

### Pre-Construction Dilapidation Report

Dilapidation reports, including photographic surveys, of the adjoining properties 11 Loch Street & 15 Loch Street must be provided to the Principal Certifying Authority prior to any works commencing on the site (including demolition or excavation). The reports must detail the physical condition of those properties listed below, both internally and externally, including walls, ceilings, roof, structural members and other similar items.

The dilapidation report is to be prepared by a suitably qualified person. A copy of the report must be provided to Council, the Principal Certifying Authority and the owners of the affected properties prior to any works commencing.

In the event that access for undertaking the dilapidation report is denied by an adjoining owner, the applicant must demonstrate, in writing that all reasonable steps have been taken to obtain access. The Principal Certifying Authority must be satisfied that the requirements of this condition have been met prior to commencement of any works.

Note: This documentation is for record keeping purposes and may be used by an applicant or affected property owner to assist in any action required to resolve any civil dispute over damage rising from the works.

Details demonstrating compliance are to be submitted to the Principal Certifying Authority prior to the commencement of any works on site.

Reason: To maintain proper records in relation to the proposed development.

## CONDITIONS TO BE COMPLIED WITH DURING DEMOLITION AND BUILDING WORK

### Road Reserve

The applicant shall ensure the public footways and roadways adjacent to the site are maintained in a safe condition at all times during the course of the work.

Reason: Public safety.

### Removing, Handling and Disposing of Asbestos

Any asbestos material arising from the demolition process shall be removed and disposed of in accordance with the following requirements:

¡	Work Health and Safety Act;

¡	Work Health and Safety Regulation;

¡	Code of Practice for the Safe Removal of Asbestos [NOHSC:2002 (1998)];

¡	Guide to the Control of Asbestos Hazards in Buildings and Structures [NOHSC: 3002 (1998);

¡	Clause 42 of the Protection of the Environment Operations (Waste) Regulation 2005; and

¡	The demolition must be undertaken in accordance with Australian Standard AS2601 – The Demolition of Structures.

Reason: For the protection of the environment and human health.

### Survey Certificate

A survey certificate prepared by a Registered Surveyor at the following stages of construction:

- Commencement of perimeter walls columns and or other structural elements to ensure the wall or structure, to boundary setbacks are in accordance with the approved details.

- At ground level to ensure the finished floor levels are in accordance with the approved levels, prior to concrete slab being poured/flooring being laid.

- At completion of the roof frame confirming the finished roof/ridge height is in accordance with levels indicated on the approved plans.

Details demonstrating compliance are to be submitted to the Principal Certifying Authority.

Reason: To determine the height of buildings under construction comply with levels shown on approved plans.

### Vehicle Crossings

The Applicant is to construct one vehicle crossing 2.0 metres wide in accordance with Northern Beaches Council Drawing No A4-3330/3 and the driveway levels application approval. An Authorised Vehicle Crossing Contractor shall construct the vehicle crossing and associated works within the road reserve in plain concrete. All redundant laybacks and crossings are to be restored to footpath/grass. Prior to the pouring of concrete, the vehicle crossing is to be inspected by Council and a satisfactory “Vehicle Crossing Inspection” card issued.

A copy of the vehicle crossing inspection form is to be submitted to the Principal Certifying Authority.

Reason: To facilitate suitable vehicular access to private property.

### Waste Management During Development

The reuse, recycling or disposal of waste during works must be done generally in accordance

with the Waste Management Plan for this development.

Details demonstrating compliance must be submitted to the Principal Certifying Authority. Reason: To ensure demolition and construction waste is recycled or reused and to limit landfill.

### Tree and vegetation protection

  - Existing trees and vegetation shall be retained and protected, including:

- all trees and vegetation within the site, excluding exempt trees and vegetation under the relevant planning instruments of legislation,

- all trees and vegetation located on adjoining properties,

- all road reserve trees and vegetation not approved for removal.

  - Tree protection shall be undertaken as follows:

- tree protection shall be in accordance with Australian Standard 4970-2009 Protection of Trees on Development Sites, including the provision of temporary fencing to protect existing trees within 5 metres of development,

- existing ground levels shall be maintained within the tree protection zone of trees to be retained, unless authorised by an Arborist with minimum AQF Level 5 in arboriculture

- removal of existing tree roots at or >25mm (Ø) diameter is not permitted without consultation with an Arborist with minimum AQF Level 5 in arboriculture,

- no excavated material, building material storage, site facilities, nor landscape materials are to be placed within the canopy dripline of trees and other vegetation required to be retained,

- structures are to bridge tree roots at or >25mm (Ø) diameter unless directed by an Arborist with minimum AQF Level 5 in arboriculture on site,

- excavation for stormwater lines and all other utility services is not permitted within the tree protection zone, without consultation with an Arborist with minimum AQF Level 5 in arboriculture including advice on root protection measures,

- should either or all of v), vi) and vii) occur during site establishment and construction works, an Arborist with minimum AQF Level 5 in arboriculture shall provide recommendations for tree protection measures. Details including photographic evidence of works undertaken shall be submitted by the Arborist to the Certifying Authority,

- any temporary access to, or location of scaffolding within the tree protection zone of a protected tree or any other tree to be retained during the construction works is to be undertaken using the protection measures specified in sections 4.5.3 and 4.5.6 of Australian Standard 4970- 2009 Protection of Trees on Development Sites,

- the activities listed in section 4.2 of Australian Standard 4970-2009 Protection of Trees on Development Sites shall not occur within the tree protection zone of any tree on the lot or any tree on an adjoining site

- tree pruning from within the site to enable approved works shall not exceed 10% of any tree canopy, and shall be in accordance with Australian Standard 4373-2007 Pruning of Amenity Trees.

- the tree protection measures specified in this clause must: i) be in place before work commences on the site, and ii) be maintained in good condition during the construction period, and iii) remain in place for the duration of the construction works.

The Certifying Authority must ensure that:

  - The activities listed in section 4.2 of Australian Standard 4970-2009 Protection of Trees on Development Sites, do not occur within the tree protection zone of any tree, and any temporary access to, or location of scaffolding within the tree protection zone of a protected tree, or any other tree to be retained on the site during the construction, is undertaken using the protection measures specified in sections 4.5.3 and 4.5.6 of that standard.

Note: All street trees within the road verge and trees within private property are protected under Northern Beaches Council development control plans, except where Council’s written consent for removal has been obtained. The felling, lopping, topping, ringbarking, or removal of any tree

(s) is prohibited.

Reason: tree and vegetation protection.

### Protection of landscape features and sites of significance

All natural landscape features, including natural rock outcrops, natural vegetation, soil and watercourses, are to remain undisturbed during demolition, excavation and construction works, except where affected by works detailed on approved plans.

Should any Aboriginal sites be uncovered during the carrying out of works, those works are to cease and Council, the NSW Biodiversity and Conservation Division, Heritage NSW and the Metropolitan Local Aboriginal Land Council (MLALC) should be contacted.

Reason: preservation of significant environmental features.

### Aboriginal Heritage

Given the presence of the sandstone overhangs at the rear of the subject site there is potential that the works may harm unrecorded Aboriginal sites which are protected under the NPW Act 1974.

Storing materials or undertaking works on these sandstone overhangs is considered harm. Harm to these landscape sandstone overhang features should therefore be avoided during the construction phase of the works. Inadvertent impacts is considered harm under the NPW Act (1974).

During construction all workers and contractors should be made aware of their obligations to avoid harm to Aboriginal sites and areas of Aboriginal sensitivity.

If inadvertent impacts do occur works, works should cease and Council, the NSW Biodiversity and Conservation Division, Heritage NSW and the Metropolitan Local Aboriginal Land Council (MLALC) should be contacted.

Reason: Aboriginal Heritage Protection.

CONDITIONS WHICH MUST BE COMPLIED WITH PRIOR TO THE ISSUE OF THE OCCUPATION CERTIFICATE

### Landscape completion

Landscaping is to be implemented in accordance with the Landscape Plan L100 revision C, inclusive of the following conditions:

Prior to the issue of an Occupation Certificate, a landscape report prepared by a landscape architect or landscape designer shall be submitted to the Certifying Authority, certifying that the landscape works have been completed in accordance with any conditions of consent.

Reason: environmental amenity.

### Post-Construction Dilapidation Report

Post-Construction Dilapidation Reports for 11 Loch Street and 15 Loch Street, including photos of any damage evident at the time of inspection, must be submitted after the completion of works. The report must:

¡	Compare the post-construction report with the pre-construction report,

¡	Clearly identify any recent damage and whether or not it is likely to be the result of the development works,

¡	Should any damage have occurred, suggested remediation methods.

Copies of the reports must be given to the property owners referred to in the Pre-Construction Dilapidation Report Condition. Copies must also be lodged with Council.

Details demonstrating compliance with this condition are to be submitted to the Principal Certifying Authority prior to the issuing of any Occupation Certificate.

Reason: To maintain proper records in relation to the proposed development.

### Reinstatement of Kerb

The Applicant shall reinstate all redundant laybacks and vehicular crossings to conventional kerb and gutter, footpath or grassed verge as appropriate with all costs borne by the applicant.

Details demonstrating compliance are to be submitted to the Principal Certifying Authority prior to the issue of the final Occupation Certificate.

Reason: To facilitate the preservation of on street parking spaces.

- Positive Covenant and Restriction as to User for On-site Stormwater Disposal Structures The Applicant shall lodge the Legal Documents Authorisation Application with the original completed request forms (NSW Land Registry standard forms 13PC and/or 13RPA) to Council and a copy of the Works-as-Executed plan (details overdrawn on a copy of the approved drainage plan), hydraulic engineers’ certification.

The Applicant shall create on the Title a restriction on the use of land and a positive covenant in respect to the ongoing maintenance and restriction of the on-site stormwater disposal structures within this development consent. The terms of the positive covenant and restriction are to be prepared to Council’s standard requirements at the applicant’s expense and endorsed by Northern Beaches Council’s delegate prior to lodgement with the NSW Land Registry Services. Northern Beaches Council shall be nominated as the party to release, vary or modify such covenant.

A copy of the certificate of title demonstrating the creation of the positive covenant and restriction for on-site storm water detention as to user is to be submitted.

Details demonstrating compliance are to be submitted to the Principal Certifying Authority prior to the issue of final Occupation Certificate.

Reason: To ensure the on-site stormwater disposal system is maintained to an appropriate operational standard.

### Retaining wall

The retaining wall works shall be certified as compliant with all relevant Australian Standards and Codes by a Structural Engineer. Details demonstrating compliance are to be submitted to the Principal Certifying Authority prior to the issue of any final Occupation Certificate.

Reason: Public and Private Safety

### House / Building Number

House/building number is to be affixed to the building to be readily visible from the public domain.

Details demonstrating compliance are to be submitted to the Principal Certifying Authority prior to the issue of any interim / final Occupation Certificate.

Reason: Proper identification of buildings.

### Waste Management Confirmation

Prior to the issue of a Final Occupation Certificate, evidence / documentation must be submitted to the Principal Certifying Authority that all waste material from the development site arising from demolition and/or construction works has been appropriately recycled, reused or disposed of generally in accordance with the approved Waste Management Plan.

Reason: To ensure demolition and construction waste is recycled or reused and to limit landfill.

### Swimming Pool Requirements

The Swimming Pool shall not be filled with water nor be permitted to retain water until:

- All required safety fencing has been erected in accordance with and all other requirements have been fulfilled with regard to the relevant legislative requirements and relevant Australian Standards (including but not limited) to:

  - Swimming Pools Act 1992;

  - Swimming Pools Amendment Act 2009;

  - Swimming Pools Regulation 2008

  - Australian Standard AS1926 Swimming Pool Safety

  - Australian Standard AS1926.1 Part 1: Safety barriers for swimming pools

  - Australian Standard AS1926.2 Part 2: Location of safety barriers for swimming pools

- A certificate of compliance prepared by the manufacturer of the pool safety fencing, shall be submitted to the Principal Certifying Authority, certifying compliance with Australian Standard 1926.

- Filter backwash waters shall be discharged to the Sydney Water sewer mains in accordance with Sydney Water’s requirements. Where Sydney Water mains are not available in rural areas, the backwash waters shall be managed onsite in a manner that does not cause pollution, erosion or run off, is separate from the irrigation area for any wastewater system and is separate from any onsite stormwater management system. Appropriate instructions of artificial resuscitation methods.

- A warning sign stating ‘YOUNG CHILDREN SHOULD BE SUPERVISED WHEN USING THIS POOL’ has been installed.

- Signage showing resuscitation methods and emergency contact

- All signage shall be located in a prominent position within the pool area.

- Swimming pools and spas must be registered with the Division of Local Government.

Details demonstrating compliance are to be submitted to the Certifying Authority prior to the

issue of an Interim / Final Occupation Certificate. Reason: To protect human life (DACPLF09)

## ON-GOING CONDITIONS THAT MUST BE COMPLIED WITH AT ALL TIMES

### Landscape maintenance

If any landscape materials/components or planting under this consent fails, they are to be replaced with similar materials/components. Trees, shrubs and groundcovers required to be planted under this consent are to be mulched, watered and fertilized as required at the time of planting.

If any tree, shrub or groundcover required to be planted under this consent fails, they are to be replaced with similar species to maintain the landscape theme and be generally in accordance with the conditions of consent.

Reason: to maintain local environmental amenity.

### Retention of Natural Features

All natural landscape features, including natural rock outcrops, natural vegetation, soil and watercourses, are to remain undisturbed except where affected by necessary works detailed on approved plans.

Reason: To ensure the retention of natural features.

### No Planting Environmental Weeds

No environmental weeds are to be planted on the site. Information on weeds of the Northern Beaches can be found at the NSW WeedWise website (http://weeds.dpi.nsw.gov.au/).

Reason: Weed management.

### Dead or Injured Wildlife

If construction activity associated with this development results in injury or death of a native mammal, bird, reptile or amphibian, a registered wildlife rescue and rehabilitation organisation must be contacted for advice.

Reason: To mitigate potential impacts to native wildlife resulting from construction activity.

### Swimming Pool Pump

The swimming pool filter and pump is to not emit noise over 5dba above background noise at the nearest residential boundary.

Reason: to protect the acoustic amenity of neighbouring sites.